|  |  |
| --- | --- |
| Subject: | Re: REQUEST FOR BATTERY |
| From: | "Timothy Isiguzor" <timothy.isiguzor@elshcon.com> |
| Date: | Mon, October 7, 2019 4:56 pm |
| To: | "ugochukwu ekeocha" <ugochukwu.ekeocha@elshcon.com> |
| Priority: | Normal |
| Options: | [View Full Header](http://elshcon.com:2095/cpsess2490437856/3rdparty/squirrelmail/src/view_header.php?mailbox=INBOX&passed_id=9343&passed_ent_id=0&where=search.php&what=1)  |  [Print](http://elshcon.com:2095/cpsess2490437856/3rdparty/squirrelmail/src/read_body.php?account=0&mailbox=INBOX&where=search.php&what=1&passed_id=9343&startMessage=1&print=1)  |  [Download this as a file](http://elshcon.com:2095/cpsess2490437856/3rdparty/squirrelmail/src/download.php?absolute_dl=true&passed_id=9343&ent_id=1&mailbox=INBOX&sort=&startMessage=1&show_more=0&passed_ent_id=0) |

|  |
| --- |
|  |
| Hi Ugo,  This battery was supplied for both 140kva Gen and 200kva, the replaced  batteries are at H/O store, Mr Lolo can make it available for anyone to  see them.  I have discussed with Mrs Asika on this issue, and her approval were given  on this before it was supplied.The 200kva has two 100amp,12v baterties,we  only replaced just one dead one while 140 kva has only one dead battery  which was replaced too,  investigation can be made to ascertain if both batteries at the Generators  are new ones or not.it was not replaced same day.  Thank you.  --  Timothy Isiguzor  ICT Manager  Elshcon Nigeria Limited  Website: www.elshcon.com  Mobile: +234 8140040026 |