|  |  |  |  |
| --- | --- | --- | --- |
| **Vessel Name :** | ENL Superior | **Reqn No:** | ENLS-2020-003 |
| **Department :** | SHIP | **Vessel Reference :** |  |
| **Reqn. Date :** | 15-01-2020 | **Deliver By :** |  |
| **Requisition Type :** | ELECTRICAL REQUISITIONS | **Priority :** | **URGENT** |
| **Account Code :** |  | **Currency :** |  |
| **Payment Terms** |  | | |
| **Delivery Terms** | AT ONNE PORT HARCOURT | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Description:** | CIRCUIT BRAKER | **Maker:** |  |
| **For Equipment:** |  | **Serial No:** |  |
|  |  | **Vendor :** |  |
| **Equipment Remark:CIRCUIT BRAKER** | | | |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **SR.No.** | **Part No** | **Part Name** | **Product. No/** | **Maker’s Reference** | **Unit** | **Stock** | **Qty Req.** | **Qty approved** | **Est. Price** | **Item Remarks** |
| 42 |  | CIRCUIT BREAKER  MERLIN GERIN COMPACT NS 630N, UI 750V UIMP8KV, UE(V) ICU (KA) ICS  220/240V ----85----100  380/415-----50-----100  440-----42-----100  500-----30-----100  525-----22----25  660/690-----25  50/60HZ CATA  IEC/EN 60 947-2  UTE VDE BS CEI  UNE NEMA IN =630A |  |  | PCS |  | 1 |  |  |  |

|  |  |
| --- | --- |
| **Total in(**Naira**)** |  |

**Instructions To Vendor:**

**Comment:**