**EQUIPMENT CALIBRATION DESCRIPTION LOG Updated: 25/09/2019**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **S/N** | **Equipment Description** | **Serial Number/ Asset No** | **Location** | **Model** | **Calibrated By** | **Name of Calibration Analyst** | **Date Calibrated** | **Due Date** | **Comments** |
| 1 | Air Compressor | ENL/M/E/536 | Base 2 | Sullar | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 2 | Diesel Welder | ENL/P/M/12 | Base 1 | Lincoln | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 3 | Diesel Welder | ENL/P/M/16 | Base 2 | Lincoln | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 4 | Diesel Welder | ENL/P/M/10 | Base 2 | Lincoln | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 5 | Electric Welder | MB070138U | Base 1 | Miller | BV Global Ltd | Ibanga Dan | 20/09/2019 | 19/09/2020 |  |
| 6 | Electric Welder | MB070138U | Base 1 | Miller | BV Global Ltd | Ibanga Dan | 20/09/2019 | 19/09/2020 |  |
| 7 | Sand Pot | M6-1210 | Base 2 | MARCO | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 8 | Digital Dial Indicator | N/A | Base 2 | PITTSBURGH | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 8 | Pyrometer( IR Thermometer | CW1223 | Base 2 | RYOBI | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 9 | Clamp Meter | 713-B1 | Base 2 | KLEIN TOOLS | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| 10 | Gas Tester | 002162 | Base 2 | MSA ALTAIR | Vericas integ. Serv. Ltd | Vericas | 08/08/19 | 07/08/2020 |  |
| 11 | Gas Tester |  | Base 2 | Draggar |  | Vericas | 01/08/2019 | 31/07/2020 |  |
| 12 | Ultrasonic thickness gauge | N/A | Base 2 | Flex Bar | BV Global Ltd | Ibanga Dan | 18/10/2018 | 17/10/2019 | Valid |
|  | AC/DC Yoke | 43550 | Base 2 | Magnaflux | BV Global Ltd | Ibanga Dan | 14/08/2019 | 13/08/2020 |  |
| QAQC Rep: | | | | | | | | | |