|  |  |  |  |
| --- | --- | --- | --- |
| **Vessel Name :** | ENL SUPERIOR | **Reqn No:** | ENLS-2021-0337 |
| **Department :** | ENGINE ROOM | **Vessel Reference :** |  |
| **Reqn. Date :** | 18-09-2021 | **Deliver By :** |  |
| **Requisition Type :** | DRY DOCK REQUISITION | **Priority :** |  |
| **Account Code :** |  | **Currency :** |  |
| **Payment Terms** |  | | |
| **Delivery Terms** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Description:** | DRY DOCK REQUISITION | **MADE: CHINA** |  |
| **For Equipment:** | COLD ROOMAND AIR CONDITIN SYSTEM | MODEL: |  |
|  |  | **SERIAL nO** | 663006132 |
| **Equipment Remark: COLD ROOM AND AIR CONDITIN SYSTEM AND STARBOARD GENERATOR DEFECT REPORT RECOMMENDATION REQUISITION** | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **SR.No.** | **Part No** | **Name** | **Product. No/** | **Maker’s Reference** | **Unit** | **Stock** | **Qty Req.** | **Qty approved** | | **Est. Price** | **Item Remarks** |
| 1 |  | COLD ROOM NEW COMPRESSOR |  | BITZER  TYPE: 2FC-3.2Y |  |  | 1PICS | | 1PCS |  | Approved |
| 2 |  | CHEELER SOLENOIDS |  |  |  |  | 5PICS | | 3 PCS |  | Approved |
| 3 |  | AIR FILTER SOOTH COVER |  |  |  |  | 4ROOL | | 2 Rolls |  | Approved |
| 4 |  | PRESSURE SWITCH FOR COLD ROOM COMPRESSOR. | KP1, KP2,AND KP5 | black |  |  | 6PICS | | 3 PCS |  | Approved |

**Instructions To Vendor:**

**Comment:**