|  |  |  |  |
| --- | --- | --- | --- |
| **Vessel Name :** | ENL SUPERIOR | **Reqn No:** | ENLS-2022-001 |
| **Department :** | ENGINE ROOM | **Vessel Reference :** |  |
| **Reqn. Date :** | 19-01-2022 | **Deliver By :** |  |
| **Requisition Type :** | ELECTRICAL MATERIALS | **Priority :** | **URGENT** |
| **Account Code :** |  | **Currency :** |  |
| **Payment Terms** |  | | |
| **Delivery Terms** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Description:** |  | **MADE: CUMMINS** |  |
| **For Equipment:** |  |  |  |
|  |  |  |  |
| **Equipment Remark:** | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **SR.No.** | **Part No** | **Name** | **Product. No/** | **Maker’s Reference** | **Unit** | **Stock** | **Qty Req.** | | **Qty approved** | **Est. Price** | **Item Remarks** |
| 1. |  | STARTER PREMIUM BATTERY CMF200 12V 200AH (20HR) 430MIN(RC) 1100A(CCA) |  |  | PIECES |  | 5 | 5 | |  |  |
| 2. |  | COMPLETE FLORESCENT PENDANT LIGHT IP55 TYPE-JCY 22-2E POWER 2x20W VOLTS 220 H250 |  |  | PIECES |  | 5 | 5 | |  |  |
| 3. |  | PHILIP FLORECENT TUBE LIFE MAX OR DAY LIGHT OR OSRAM L18 WATTS 220V H250 |  |  | PACKET |  | 5 | 5 | |  |  |
| 4. |  | NAVIGATION BULB 65 WATTS P28S 24V DC |  |  | CARTON |  | 1 | 1 | |  |  |
| 5. |  | NAVIGATION LAMP HOLDER |  |  | PIECES |  | 15 | 15 | |  |  |
| 6. |  | SCOTCH SPLICING TAPE TM23 RUBBER |  |  | PIECES |  | 5 | 5 | |  |  |
| 7. |  | INSULATION TAPE ABRO PRODUCT BLACK |  |  | ROLL |  | 5 | 5 | |  |  |
| 8. |  | NYLON CABLE TIE 4.8x250MM |  |  | PACKET |  | 1 | 1 | |  |  |
| 9. |  | NYLON CABLE TIE 4.8x200MM |  |  | PACKET |  | 1 | 1 | |  |  |
| 10. |  | NYLON CABLE TIE 2.5x150MM |  |  | PACKET |  | 1 | 1 | |  |  |
| 11. |  | NYLON CABLE TIE 7.6x300MM |  |  | PACKET |  | 1 | 1 | |  |  |
| 12. |  | 24V DC BULB PIN TYPE (15WATTS) |  |  | CARTON |  | 1 | 1 | |  |  |
| 13. |  | COMPLETE NAVIGATION LIGHT 2-IN-1 BLUE |  |  | PAIR |  | 1 | 1 | |  |  |
| 14. |  | COMPLETE NAVIGATION LIGHT 2-IN-1 WHITE |  |  | PAIR |  | 1 | 1 | |  |  |
| 15. |  | COMPLETE NAVIGATION LIGHT 2-IN-1 RED |  |  | PAIR |  | 1 | 1 | |  |  |
| 16. |  | METRO ONE KILLER PEST FLORECENT TUBE RICKY TA 10WATTS BL 220/240V 50/60HZ |  |  | PACKET |  | 1 | 1 | |  |  |
| 17. |  | GALLEY ELECTRIC BURNER 415V 3-PHASE 2000WATTS SEATING DIAMETRE 21.8M |  |  | PIECES |  | 3 | 3 | |  |  |
| 18. |  | FLEETGUARD SECONDARY FUEL FILTER (FS1006) |  |  | PIECES |  | 30 | 30 | |  |  |
| 19. |  | FLEETGUARD AIR FILTER (IPL AH19002) |  |  | PIECES |  | 13 | 13 | |  |  |
| 20. |  | SOOT |  |  | ROLL |  | 2 | 2 | |  |  |
| 21. |  | SILICON |  |  | CARTON |  | 1 | 1 | |  |  |
|  |  |  |  |  |  |  |  |  | |  |  |

**Instructions To Vendor:**

**Comment:**